Introduction to Beam Diagnostics – Part I
Ralph J. Steinhagen, CERN

---
CAS Lecture on Q & Q' - Content
Outline
- Recap: What the .... is Q/Q', oscillations dampening
- Tune Diagnostics
  - Classic Fourier-Transform Based
  - Phase-Locked-Loop (PLL) Systems
- Classic Chromaticity Diagnostics
  - Momentum shift Δp/p based Q' tracking methods
- Longitudinal Tomography
- Advanced Topic → your choice

---
Beam Diagnostics
- … didn't we hear about this last week?
- Distinguish between
  - Beam Instrumentation:	physical hardware provides a direct beam parameter measurement
    - e.g. Faraday cup → current → beam current
  - Beam Diagnostics:	beam parameter is derived through a combination of beam instrumentation or procedure of beam parameter variation
    - Machine tune (Q) and chromaticity (Q')
    - Longitudinal phase-space distribution (long. tomography)

---
Tune Diagnostics - Primer
- Importance of tune:
  - defines beam life-time
  - strong impact on beam physics experiments:
Laymen/Musician's view (Beethoven's 5th):
in tune (good):
off-tune (bad):
Audience will leave the concert
↔ Beam will leave the vacuum pipe
#
#

---
Recap: Transverse Beam Dynamics
Free Betatron Oscillations:
Betatron Phase Advance: Δμ(s)
Tune defined as betatron phase advance over one turn:
{z_{%beta}{size 10 (s)}} = sqrt {%epsilon_i %beta {size 10 (s)}} `cdot` sin(%mu{size 10 (s)} + %phi_i)
Q ~:=~ 1 over {2 %pi} ` lint csub {C} `{%mu {size 10 (s)}} `ds
common:
Q ~= color blue {{color black {Q_{%int}}} underbrace {integer~tune}} + color blue {color black {q_{frac}} underbrace {fractional~tune}}
'1'
'2'
'3'
q = .31
'4'
here: Q = 3.31

---
Phase Space I/II
y
y
s
trajectory
4
3
1
2
y
y’
phase space
(linear motion)
1
2
3
4
1
2
3
4
Surface ~ emittance ε
(~bunch “temperature”)

---
Magnets – Basic Arsenal
Hill's Equation
z'' `+` k {size 10 {(s)}} cdot z `=` f {size 10 {(s,t)}}
Dipole:
constant field
Dipole:
constant field
Quadrupole:
linear field
Sextupole:
quadratic field
→ defines circular
trajectory/orbit
→ defines transverse
focusing and
periodic betatron
oscillation
→ corrects for non-linear
/chromatic effects
→ defines
dynamic aperture
LHC: up to 12 order

---
Non-Linear Dynamics – Dipolar Resonance
- For Q = 2.00: Oscillation induced by the dipole kick grows on each turn and the particle is lost (1st order resonance Q = 2).
- For Q = 2.50: Oscillation is cancelled out every second turn, and therefore the particle motion is stable.
1st turn
2nd turn
3rd turn
courtesy R. Steerenberg
courtesy R. Steerenberg
Q = 2.00
Q = 2.50

---
Non-Linear Dynamics – Quadrupolar Resonances
- For Q = 2.50: Oscillation induced by the quadrupole kick grows on each turn and the particle is lost (2nd order resonance 2Q = 5)
- For Q = 2.33: Oscillation is cancelled out every third turn, and therefore the particle motion is stable.
Q = 2.33
courtesy R. Steerenberg
Q = 2.50
1st turn
2nd turn
3rd turn
4th turn

---
Phase Space II/II
- What happens if you add strong non-linear sextupole & octupole-components
  - 'separatrix' (aka. 'dynamic aperture') being the border between stable and unstable beam motion regime
x'
x'
x
x
octupole resonance
sextupole resonance

---
Tune Stability Requirements & Constraints
- Unstable particle motion if:
  - similar relation also in between Qx & Qs	(important for lepton accelerators)
- Resonance order:
  - Lepton accelerator: avoid up to ~ 3rd order
  - Hadron colliders:
    - negligible synchrotron radiation damping
    - need often to avoid up to the 12th order
“Hadron beams are like elephants –	treat them bad and they'll never forgive you!”
{p = m cdot Q_x + n cdot Q_y} ~~and~~ {m,n,p in setZ}
O = abs m + abs n
1st & 2nd order,
3rd order resonances

---
Tune Stability Requirements & Constraints
Example LHC: stability requirement: ΔQ ≈ 0.001 vs. exp. drifts ~ 0.06
coll.
3rd
inj.
δQ
2∙ΔQ(6σ)
10th
7th
← 4th
11th

---
Example: Tune During LHC Ramp

---
Tune Diagnostics Principle
- Control Theory → System Identification
- Example (first order) beam response ≈ damped harmonic oscillator resonance (ω0: resonant frequency (Q), λ: tune resonance width (σQ),	ω: driving frequency)
- Excitation choices:
  - White or remnant noise
    - no information on signal phase
  - Single-turn transverse kick (classic)
  - Frequency Sweep aka. 'Chirp'
    - focuses excitation power on frequency range of interest → less ε-blow-up, constant power
  - Phase-Locked-Loop Systems = resonant excitation on the Tune
Note: Exciter and pickup have additional non-beam related responses!
E(s)
G(s)
X(s)
beam response
ω0
abs {G{size 10 (%omega)}} := abs {{X{size 10 (s)}} over {E{size 10 (s)}}} approx {{%omega_0}} over {sqrt{left(%omega^2 - %omega_0^2 right)^2 + left({2%lambda %omega_0%omega} right)^2}}
~λ
exciter signal
(known)
beam pickup
signal

---
Classic BPM based Tune Diagnostics
.... how an kick-induced beam oscillation typically looks like
- Fourier analysis of turn-by-turn data:
  - magnitude peaks at qfrac
  - N.B. no information on Qint !
FFT
index 'k'
N
q_{frac} approx k over N

---
Tune Instrumentation – Direct-Diode-Detection
- Basic principle: AC-coupled RF diode peak detector1
  - intrinsically down samples spectra: ... GHz → kHz (independent on filling pattern)
    - thus 'Base-Band-Tune Meter' (aka. BBQ)
    - Base-band operation: very high sensitivity/resolution ADC available
    - Measured resolution estimate: < 10 nm → ε blow-up is a non-issue
  - AC-coupling removes common-mode → only relative changes play a role
    - capacitance keeps the “memory” of the to be rejected signal
  - no saturation, self-triggered, no gain changes to accommodate single vs. multiple bunches or low vs. high intensity beam
1M. Gasior, “The principle and first results of betatron tune measurement by direct diode detection”, CERN-LHC-Project-Report-853, 2005

---
Example: BBQ Spectra CERN-PSB, frev ≈ 2 MHz
3.
4.
2.
1.
BBQ → fast ADC → FPGA based digital signal processing chain, FFTs @ 500 – 1 kHz!

---
Example: LHC Q/Q' Diagnostics

---
Tune Feedback in the LHC
Hor. spectrum with Tune-FB OFF
Hor spectrum with Tune-FB ON
- With full pre-cycling the fill-to-fill stability is now typically 2-3×10-3
- Variations frequently increase up to 0.02
  - Due to partial or different magnet pre-cycles after e.g. access or sector trips
- Tune-FB routinely used for physics ramps to compensate these effects
  - Using peak fit on FFT with 0.1..0.3 Hz Bandwidth

---
Reference Spectra
Beethoven's 5th, First Five Measures
fifth measure
fourth measure
third measure
second measure
first measure

---
Classic Phase-Locked-Loop Tune Diagnostics
A∙sin(2πfe)
reference signal
Phase
Detector
Δφ
Control Law
D(s)
NCO
Δf
G_{Beam}(%omega) = color blue {R(%omega)} cdot e^{i color red {%varphi(%omega)}}
R(fe)∙cos(2πfe-Δφ)
A∙sin(2πfe)
beam
pickup
kicker
magnet
90°
beam response signal
here: ω0 = Q = 0.31
- BTF provides also information on collective effects
  - (landau damping→ spread distribution) impedance, stability diagram, lattice non-linearities (Q', Q''), etc.
beam response

---
Classic PLL Detector
- Pro: robust analogue circuit implementation possible
- Con:
  - non-linear control signal for large phase difference Δφ
  - Control signal depends on beam response's amplitude R(fe)
X
zexciter(t)
zdet(t)
zinput(t)
alignl z_{det}(t) = LP left(z_{%input}(t) cdot z_{exciter}(t) right)newline alignl ~~~~~~ = LP left(R(f_e) cdot cos(2%pi f_e - %DELTA%varphi(t)) cdot A sin(2%pi f_e) right)newline newline alignl ~~~~~~ = {{A R} over {alignc 2}} {sin(%DELTA%varphi(t))} ~+~ {{A R} over {alignc 2}} sin(4%pi f_e - %DELTA%varphi(t))
for small phases
removed by low-pass filter
color blue {% approx %DELTA%varphi(t)}
fLP

---
Advanced Phase-Locked-Loop Scheme
G_{Beam}(%omega) = color blue {R(%omega)} cdot e^{i color red {%varphi(%omega)}}
beam response
reference signal
BBQ
Trans. Damper/
Tune Tickler
R(fe)∙cos(2πfe-φ)
A∙sin(2πfe)
X
fLP
X
fLP
Rect.
2
Pol.
NCO
phase loop
ampl. loop
R(ω)
φ
φ
ILP
QLP
QLP
ILP
rect2polar
sin(2πfe)
cos(2πfe)
R(ω)
Gpre(s)
zinput(t)
Gex(s)
zexciter(t)
Δf
Δa
beam response signal
90°

---
LHC Q/Q' Phase-Locked-Loop
beam magnitude response
beam phase response
Q'v = 15 (dp/p =10-4 @2.5 Hz) → Q'-trim → re-measured Q'v = 10

---
Beam Chromaticity - Primer
Light optics analog: chromatic error
Tune spread DQ/Q dependence on momentum spread Dp/p:
  - defines: (normalised) 'chromaticity' Q' (ξ)
 → also 1st order measurement principle
p = p0
p < p0
p >p0
chromaticity
%DELTA Q `:=` Q' cdot {{%DELTA p}over {p} }
{%DELTA Q} over {Q} `:=` %xi cdot {{%DELTA p}over {p} }
or:
~2 DQ/Q

---
Recap: Tune & Quadrupole Gradient Errors
Hill's equation
z'' `+` k {size 10 {(s)}} cdot z `=` f {size 10 (z)}
- Why do we need to measure the tune at all?
  - Quadrupole strength (hor. focusing):
- Quadrupole gradient errors:
  - saturation of iron yoke, magnet calibration errors, power converter ripple, etc.
k(s) = {q over p} {{partial B} over {partial x}}
color blue {k{size 10 (s)} rightarrow k_0{size 10 (s)} + %DELTA k {size 10 (s)}}
→ watch out for quadrupole errors at
large beta functions (e.g. final focus)!
%DELTA Q = {1 over {4%pi}} `%beta {size 10 (s)} cdot %DELTA k{size 10 (s)}

---
Recap: Tune & Momentum Error I/II
%DELTA Q = {1 over {4%pi}} lint %beta {size 10 (s)} cdot %DELTA k{size 10 (s)}`ds
- Why do we need to measure the tune at all?
  - Quadrupole strength (hor. focusing):
- Beam momentum error:
  - Inserting 'Δk' into tune shift formula yields 'natural chromaticity' Q'nat definition:
  - ~ number of quadrupoles (~ accelerator circumference)
    - always negative (since β(s) > 0) → drives head-tail instability
→ needs to be compensated for nearly all (big/high intensity) machines
k(s) = {q over p} {{partial B} over {partial x}}
color red {p rightarrow p_0 + {{%DELTA p} over {p_0}}}
f_x {size 10 (s)} ~=~ k {size 10 (s)} cdot x `approx` k_0 {size 10 (s)} cdot x `-` k_0 {size 10 (s)} cdot {{%DELTA p} over {p}} cdot x `+` k_0 {size 10 (s)} left({{%DELTA p} over {p}} right)^2 cdot x
1 over {1 + x} = 1 `-` x `+` x^2 `+` h.o.
→ Δk(s)
~ Q''
{%DELTA Q} `=` - {1 over {4 %pi }} left[ lint %beta {size 10 (s)} cdot k {size 10 (s)} `ds right ] cdot {{%DELTA p} over {p_0}} `:=` Q'_{nat.} cdot {{%DELTA p} over {p_0}}

---
Recap: Tune & Momentum Error II/II
Hill's equation
Sextupolar field:
- Off-Momentum particle passage through sextupole (assume y=0):
  - keep only relevant order (estimate: D ~ m, Δp/p ~10-4 & xβ ~ 10-4 m)
  - linear natural chromaticity compensated if
- General linear chromaticity compensation relation:
z'' `+` k {size 10 {(s)}} cdot z `=` f {size 10 (z)}
f_{x/y} {size 10 (s)} = left lbrace matrix{ + {1 over 2} m{size 10 (s)} cdot left(x^2 - y^2 right) ## - m{size 10 (s)} cdot x cdot y } right rbrace ~~with~ m(s) = {q over p} {{partial^2 B} over {partial x^2}}
x ~rightarrow~ color red { D cdot {size 8 {{%DELTA p} over {p}}}}`+` {color blue x_{%beta}}
matrix { alignl f_{x} {size 10 (s)} # alignl %= `+` {1 over 2} m{size 10 (s)} cdot left[` left( color red {D cdot {{%DELTA p} over {alignc p}} + color blue {x_{beta}}} right)^2 `right] ## ~# alignl %= `+` {1 over 2} m{size 10 (s)} cdot left[` color red {left(D cdot {{%DELTA p} over {alignc p}} right)^2} `+` color red { 2 left(D cdot {{%DELTA p} over {alignc p}} right) cdot color blue {x_{beta}}} `+` color blue {x_{beta}^2 } `right] ## ~# alignl %= `+`m{size 10 (s)} left(D cdot {{%DELTA p} over {alignc p}} right) cdot color blue {x_{beta}} ~+~ {1 over 2} m{size 10 (s)} cdot {left(D cdot {{%DELTA p} over {alignc p}} right)^2} ~+~ {1 over 2} m{size 10 (s)} cdot color blue {x_{beta}^2 } }
 → Landau damping
~ Q'
~ Q''
m{size 10 (s)} cdot D{size 10 (s)} `=` k_0 {size 10 (s)}
Q' `=` {1 over {4%pi}} `lint` left[D {size 10 (s)} m {size 10 (s)} - k {size 10 (s)}right] `%beta{size 10 (s)} `ds

---
Recap: “Landau Damping”
- Individual bunch particles usually differ slightly w.r.t. their individual tune → Literature: “Landau Damping” (Historic misnomer: particle energy is preserved!)
- E.g. if f(ΔQ) is a narrow Gaussian distribution with with σQ << Q:
→ large tune spread ↔ fast damping of e.g. head-tail instabilities
overline {z}{size 10 (t)} = {overline {z}}_0 cdot e^{ size 8 {- {1 over 2} cdot %sigma_Q^2 n^2 }} cdot cos left(2%pi Q cdot n right)
Tune oscillations are usually damped
dampening
tune oscillations

---
Why bother about measurement, stability & control of Q', Q'', ...?
Increases footprint in Q diagram and causes resonances for off-momentum particles
Example LHC (RF cavities 'off'):
  - need to obey this if we want to have more than one particle in the machine.
- Head-Tail instability → requires positive chromaticy for machines above transition
  - practically all lepton accelerators (e+e- collider, light sources, …)
  - high-energy proton accelerator (Tevatron, RHIC, SPS, LHC, ...)
coll.
3rd
inj.
δQ
2∙ΔQ(6σ)
10th
7th
← 4th
11th

---
Beam-Beam Interactions – Simulations
analysis: T.Rijoff & F. Zimmermann

---
LHC Base-Line Q/Q' Diagnostics Overview
RF momentum modulation
  - Measurement procedure (manual – human driven):
1. Step: measure tune Q1
2. Step: change Δp/p (RF cavities), measure tune Q2	→ ΔQ = Q2-Q1
3. Step: enter ΔQ & Δp/p into above definition	→ Q'
- Kicked Head-Tail Phase-Shift
- Q' driven phase shift of bunch head- versus tail-oscillation
- Tune-width and de-coherence based methods
- PLL Side-exciter & higher order fits
Q' = {color red {%DELTA Q}} over {color blue {%DELTA p/p}}
measured tune change
RF induced momentum change (known)
collective effects
- handle with care

---
Non-Linear Chromaticity
Tune-shifts may depends not only linearly	but also quadratically on Δp/p
 → Second order Chromaticity Q''
Can be generalised to higher orders Q'''... Q(n):
- Principle stays the same:
  - Measure Q as a function of Δp/p
  - Fit n-th order polynomial to the tune shift
  - returns: Q, Q', Q'', Q''', ...
- However: correction is highly non-trivial!!
%DELTA Q `=` Q'' `cdot` left( {{%DELTA p}over{p}} right)^2
Q^{(n)} `=` {partial^{(n)} Q} over {partial {%delta}^{(n)} } ~~with~ %delta `:=` {%DELTA p}over {p}
CERN-PS
courtesy R. Steerenberg
courtesy H. Burkhardt
LEP

---
Example: CERN-SPS – Δp/p ~ 2·10-5 Modulation
Vertical tune
Q'v ≈ 36!!
Horizontal Tune
Q'H ≈ 2
- Q' resolution is limited by tune resolution
  - large Q' increases frequency spread → Landau damping
  - can be improved by e.g. using a PLL
    - achievable frequency resolution ΔQres ~ 10-5...10-6

---
Example: SPS-PLL based Q/Q' tracking Δp/p ≈ 1.85∙10-5
tune
Q' trimming
PLL phase
PLL amplitude [a.u.]

---
Example: SPS-PLL based Q/Q' tracking Δp/p ≈ 1.85∙10-5
tune
Q'/Q

---
Typical Q/Q'(t) Control Room View
Q(t)
Q'(t)
energy
Beam 1
Beam 2

---
Computed Tomography (CT)
Computed Tomography (CT)

---
The reconstruction
CT Reconstruction

---
Some CT resuluts
Some CT Results

---
Computed Tomography  and Accelerators
Computed Tomography and Accelerators

---
Reconstructed Longitudinal Phase Space
Reconstructed Longitudinal Phase Space

---
Bunch Splitting
Bunch Splitting

---
Tune Feedback & Active Damping
BBQ noise-floor raised by 30 dB
wide tune peak → reduces tune resolution from 10-4 → ~10-2
Impacts reliable tune (and coupling) measurement & feedback
Incompatible with chromaticity measurements using small Δp/p-modulation
→ track tune on subsets of bunches with reduced damper gain