Title
LHC Commissioning Working Group:
Orbit Stability Prospects Classification and Detection of
LHC BPM errors and faults
Ralph J. Steinhagen
with input from:
R. Jones, S. Redaelli, J. Wenninger and others

---
Q: What are the limits and can we have a more stable LHC orbit
- Distribution of tolerances
- Present Orbit (-FB) Control Strategy
- Limitations deriving from the BPMs
  - Temperature
  - Intensity
  - Bunch-Filling pattern
  - Others: bunch length, geometric non-linearities, etc...
- Options:
  - Temperature controlled racks
    - Massive undertaking being looked into of removing 32+ crates, disconnections/reconnection of all optical fibres (2200 channels), calibration → not before long shutdown (2012->2013)
    - Intensity & Bunch Filling pattern → small but could be/is compensated by synchronous orbit → selecting one dedicated non-colliding (??) bunch → in place
    - Higher-accurary Diode-Orbit acquisition system → better long-term stability shown in the lab but non-negligible non-linearities

---
Outline
Formal definition of “Bad” BPM: 'errors' and 'faults'/'failures'
Examples for common failure modes and measurement errors
- Test procedures to identify faulty or erroneous BPMs
  - pre-checks without beam before every run
  - pre-checks with Pilot beam at the start of every run
  - continuous monitoring during LHC Orbit Feedback operation

---
Some Definition
A more formal definition of “Bad”: Distinguish between beam position monitor...
- Error: inconsistency between measured and true beam position
  - minimised by calibration or re-alignment
  - can lead to a a 'Fault' if exceeds pre-defined limits
- Fault or Failure:
  - an error exceeding specified limits or
  - the unavailability of the measurement
N.B.
'accuracy' := maximum measurement error ≠ resolution
'resolution' := minimum measurable position change

---
Sub-Classification of BPM error
In a linear model, errors can be further decomposed into an 'offset and 'calibration factor':
  - (some) errors affect either offset or slope only
  - absolute offset often not required (provided it is constant):
→ e.g. beam-based alignment of LHC Collimation
→ e.g. orbit response or equivalent lattice response measurements
  - systematic calibration factor is minimised by beam-based steering
    - LHC OFB Example: Assuming 20% beta-beat or 20% BPM calibration error, FB reaches after 7 iterations the same convergence as after one iteration for a 1% beta-beat/BPM calibration error.
x_{meas} = x_{offset} ~ + ~ a_{cal} cdot x_{true}

---
Beam Response Matrix Uncertainties
- Uncertainties in the beam response matrix reduced the effective control/feedback bandwidth but does not affect the steady-state precision
- E.g. LHC orbit feedback:
perfect optic	→ 1 iteration
20% beta-beat	→ ~2 iterations
20% calibration error	→ ~7 iterations

---
Known Error Sources: BPM Offset and Alignment I/II
- BPM stability analysis depends on the choice of reference system:
  - magnetic quadrupole centre (minimising feed-down effects)
  - geometric centre of beam screen (maintaining aperture constraints)
  - external reference
- Several reference system definitions possible:
  - LHC's choice: Safety first → beam screen centre as reference
beam position
measurement
beam-based
alignment:
electric BPM centre
k-modulation
BPM bias
typically:
< 1 mm
geometric centre
aperture scans
magnetic
field imperf.
magnetic centre
magnet survey:
hydrostatic levelling
system, ...
?
quadrupole misalignment
experiment
reference axis
reference beam axis
ground motion,
thermal girder drifts
LHC: ~ 950 mm
not to scale!

---
Known Error Sources: BPM Offset and Alignment II/II
- Beam Position Measurement:
  - electrical BPM bias:	100 μm r.m.s.
  - electrical BPM centre w.r.t. geometric BPM centre:	200 μm r.m.s.
  - mech. BPM centre w.r.t. beam screen centre: < “200 μm r.m.s.”
    - after aperture scan:	~ 130 μm
  - electrical BPM centre w.r.t. magnetic quad. centre:	200 μm r.m.s.
    - after k-modulation:	< 50 (5?) μm	(mostly limited to insertion regions)
- Survey group targets for magnet alignment:
  - 0.2 mm r.m.s. globally , 0.1 mm r.m.s. as an average over 10 cells
  - N.B. Orbit FB: working assumption: 0.5 mm r.m.s.
  - Watch out: CLIC-Note-422, CERN-THESIS-2001-010	→ final focus stability might be determined by systematic drifts

---
Known Error Sources: BPM dependence on
bunch length σb, intensity nb	(σf: filter time constant)	and	integrator temperature changes ΔT,	filling pattern, ...:
bunch intensity
alignl {%DELTA x_{error} sim ~ {{%sigma^3_{eff}} over {n_{b}^{1.5}}} ~+~ approx 15-20 {alignc {%mu m} over {{}^{O}C}}~ cdot %DELTA T} newline ~with~ %sigma_{eff} approx sqrt(%sigma_{b}^{2} + %sigma_{f}^2)
bunch length
DAB temperature

---
Some Failure Sources:
- From the point of view that the BPM should measure position...
- The measurement may fail if:
  - open connections, short circuits, broken optical fibre, etc.
    - observable: no beam position related change or reading
  - the Wide-Band-Time-Normaliser card is in 'CALIBRATON' mode
    - observable: no true beam position related change or reading
  - BPM 'POSITION/INTENSITY' switch to 'INTENSITY'
    - observable: no beam position related change or reading
  - BPM is set to 'HIGH-SENSITIVITY' (nb < 5·1010) though bunch intensity	nb » 5·1010 (→ 'LOW-SENSITIVITY') and vice versa
    - BPM will trigger on bunch reflection and ghosts, observable: spikes
  - Sensitivity switch not triggered by/synchronised with the orbit feedback
    - observable: steps
...plus lots of other sources which usually cause the absence of orbit acquisitions.

---
BPM Functionality Test Procedure
Three main lines of defence against BPM errors and faults:
  - Pre-checks without beam using the in-build calibration unit
    - eliminates open/closed circuits, dead circuits/element candidates
  - Pre-checks with Pilot and Intermediate beams
    - verifies calibration offset (guarantee) and slope (golden orbit)
    - verifies/guarantees proper function of machine protection
  - Continuous data quality monitoring through Orbit Feedback
    - detects spikes, steps and BPMs that are under verge of failing
(k-modulation can for a few (insertion) BPMs provide some additional limited cross-checks for BPM misalignments w.r.t. magnetic quadrupole limits. However: no hard limits!)

---
1.Pre-checks without beam using the in-built calibration unit
Prior each run:
- Each LHC WBTN can be put into an in-situ calibration mode
  - verifies active links/unbroken cabling
  - verifies that WBTN and rest of the acquisition chain is alive
  - verifies/removes drifts of electronic components
- However: With beam, from the beam position measurement point of view, calibration or intensity mode are equivalent to a BPM failure:
  - will/should be monitored through
    - LHC Sequencer/Software Interlock System
    - BPM turn-by-turn data concentrator and/or
    - LHC Orbit Feedback Controller/Service Unit
      - small additional status flag in orbit data
      - ceasing of feedback operation till:	('calibration mode' v 'intensity mode') == false

---
2.Pre-checks with Pilot and Intermediate beams I/III
Two simple functional tests to check whether BPMs are working.	Idea: “Every non-moving position reading indicates a dead BPM”.
  - free betatron oscillation with rotating phase
    - non-moving BPM readings → faulty BPM
    - tests calibration factor and/or optics
  - aperture scan to checks abs. BPM offsets and insures proper machine protection functionality: → Bumps may compromise collimation function1
    - To guarantee (two stage) cleaning efficiency/machine protection:
      - TCP (TCS) defines the global primary (secondary) aperture
    - Orbit is not a “play-parameter” for operation, except at low intensity. (‘Playing’ with the orbit will result in quasi-immediate quench at high intensity.)
IR2
IR3
e.g 'bump in arc'
Potentially:
< 6.7s
Na [σ]
~7.5σ
secondary halo
6.7s
5.7s
closed orbit
TCP & TCS
MKI
TDI
1 R. Steinhagen, “Closed Orbit and Protection”, MPWG #53, 2005-12-16

---
Aperture COD
2.Pre-checks with Pilot and Intermediate beams II/III
Scan using two COD magnets (currents: I1 & I2) with π/2 phase advance:
  - Scan (assuming global aperture of ~ 7.5σ):
    - φ = 0→2π requires ~25 seconds @7σ, per transverse angle
    - propose to measure at four transverse angles: 0o, 45o, 90o, 125o
  - Increase amplitude (COD currents) till orbit shift ≈ 6.7σ
  - Loss does not exceed predefined BLM threshold if COD settings@ 6.7σ:
    - Yes:	→ mechanical aperture ≥ 6.7 s → orbit is safe
    - No:	→ mechanical aperture ≤ 6.7 s → orbit is un-safe
  - additional feature: compare measured with reference BPM step response (xco= 0-3σ)
→ rough optics check (phase advance and beta-functions)
aperture
φ = 0 → 2π
I1=Imax∙sin(φ)
Imax
φ
ideal orbit
s
I2=Imax∙cos(φ)
x/√β [σ]
Amp.: 3σ→7σ

---
2.Pre-checks with Pilot and Intermediate beams IIII/III
- After some preliminary discussions with collimation (S. Redaelli):
- Propose to perform two procedural steps for each fill	(assume: 'empty LHC' → 'Pilot' → 'Intermediate Beam' → filling of nominal beam → ...)
  - After first Pilot injection: scan aperture with retracted collimators till either the assumed mechanical aperture is reached or beam loss is triggered
    - eliminates “dead” BPMs for 'HIGH-SENSITIVITY' setting
      - also: identifies BPMs that are in calibration/wrong gain mode
    - gives an estimate of the BPM offsets and tests the safe aperture model with and accuracy of better than one r.m.s beam width.
    - further: verifies that either injection optics (orbit response) is within tolerances or that the BPM calibration is correct
  - After injection of intermediate beam: collimators in nominal positions w.r.t. above measured global aperture and scan till a pre-defined beam loss (pattern) is reached
    - eliminates “dead” BPMs for 'LOW-SENSITIVITY' setting
    - verifies that primary collimators/absorbers are set correctly	→ Partial assuarance that we setup the system properly....

---
3.Continuous BPM data quality checks through LHC OFB
LHC BPM Prototype in the SPS:
- Most common failure symptoms: no orbit info available, spikes and steps
  - Short term (few ms-s): Zero Order Holder (ZOH)
  - Long term: Disable BPM in feedback and recalculate SVD pseudo-inverse matrix
- Only a few drifts observed: systematic on bunch length & bunch intensity
LHC BPM test in 2004
with coasting beam in the SPS:
spikes:
few μm to many mm
acquisition failures → orbit = “0”

---
3.Continuous BPM data quality checks through LHC OFB
Orbit Feedback Robustness against BPM Failures/Errors
BPM phase advance of ~π/4:
  - Twice the sampling than minimum required to detect β-oscillation
  - Distribution of consecutive BPMs on different front-ends (minimise impact of front-end drop outs)
Detection of erroneous BPM failures	(xi(n)=position at ith monitor, n: sampling index; σorbit= residual orbit r.m.s.)
  - Reject BPM if the following applies:
    - Cuts in Space Domain:
      - (BPMs marked by the front-end itself)
      - xi(n) > machine aperture
      - xi(n) – xi,ref > 3∙σorbit
      - Option: interpolate position from neighbouring BPMs (as done in APS)
    - Cuts in Time Domain (Spike/Step detection!):
      - Δxi(n)=xi(n)-xi(n-1) > 3∙Δxrms(n→n-m) (dynamic r.m.s. of last 'm' samples)
      - filters to reduce noise (e.g. low integrator gain)
      - re-enable BPMs with new reference if dynamic r.m.s. is stable for n seconds
      - ...
  - Difficult to detect coherent, very slow or systematic drifts	(e.g drift of BPM electronics vs. systematic ground motion, temperature drifts ... etc.)
Use SVD based correction → less sensitive to BPM errors

---
3.Continuous BPM data quality checks through LHC OFB
Feedback Sensitivity to BPM Failure
Propagation of single (arc) BPM failure with xi(n) < 3∙σorbit < σbeam
  - #λ≈250: < 40% (β ≈ 175m) resp. < 10% (β ≈ 39 m)
- Propagation of random (white) noise on all BPMs
  - 30% (worst case #λ=529) resp. 10% (OFB operation with #λ≈250)
- BPM induced noise on orbit (single bunch):
  - Single BPM failure:	< 0.01 - 0.4 σ
  - White BPM noise:	< 0.001 σ (inj) resp. 0.02 σ (coll)
ridge due to spurious single BPM offset
see previous slide
simulation, N=105 orbits
← Trade-off required! →
more precise corrections
more prone to BPM errors

---
3.Continuous BPM data quality checks through LHC OFB
- some implementation examples
- Orbit feedback procedure in case of a
  - spike: fail-safe choice of assuming that orbit is at reference position
  - step: pause feedback, average orbit before and after detected step (used for a-posteriori calibration) and continue from new averaged orbit
ZOOM

---
Summary of BPM Error and Failures
Presently, the following errors/failures/states are identified, classified and distributed through OFB Controller/Service Unit (BPM concentrator)
BPM front-end:
- kFRONTEND_NOT_AVAILABLE
- kFRONTEND_SINGLE_ACQ_FAILURE
- kFRONTEND_TOO_HIGH_ERROR_RATE
- kFRONTEND_INTENSITY_MODE_SET
- kFRONTEND_CALIBRATION_MODE_SET
- kFRONTEND_HIGH_INTENSITY_MODE
- kFRONTEND_DAB_TEMPERATURE_ABOVE
- kFRONTEND_DAB_TEMPERATURE_BELOW
- kFRONTEND_DESELECTED_BY_EXPERT
OFB Controller/SU & Operator/GUI
- kOFC_PACKET_NOT_ARRIVED
- kOFC_PACKET_ARRIVED_LATE
- kOFC_DETECTED_SPIKE
- kOFC_DETECTED_STEP
- kOFC_TOO_HIGH_ERROR_RATE
- kOSU_PACKET_NOT_ARRIVED
- kOSU_PACKET_ARRIVED_LATE
- kOSU_DETECTED_SPIKE
- kOSU_DETECTED_STEP
- kOSU_TOO_HIGH_ERROR_RATE
- kFBEXPERT_FAULTY
- kFBEXPERT_TEMPORARILY_DESELECTED
- kOPERATOR_FAULTY
- kOPERATOR_TEMPORARILY_DESELECTED

---
Conclusions
- Many BPM error and failure sources are understood and anticipated in the orbit steering and feedback procedures
  - Provided they are randomly distributed (and not at critical locations such as collimation, injection/extraction...):
    - OFB can cope with up to20% of erroneous/faulty BPMs
Three main lines of defence against BPM errors and faults:
  - Pre-checks without beam using the in-build calibration unit
  - Pre-checks with Pilot and Intermediate beams (aperture scans)
  - Continuous data quality monitoring through Orbit Feedback
Something to be kept in mind: To verify and re-check deselected BPMs in order to not end up with “zero” as working tagged BPMs
More details on BPM error, failures and FB function can be found in:	“LHC Beam Stability and Feedback Control - Orbit and Energy”, CERN-AB-2007-049

---
additional slides

---
Aperture Title
Aperture and Reference Orbit
How to determine the actual aperture?
or:
How do we now that we established a good/safe orbit?

---
Aperture e-blow-up
Aperture measurement proposals:
Two methods to test whether the closed orbit is within 6.7σ of the available mechanical or dynamic aperture:
- Scan using emittance blow-up:
  - Increase beam size in a controlled	way while measuring the beam size.	(e.g. using transverse damper and wire scanner)
  - Once particle loss above given threshold:
→ store last beam size measurement
  - “Is beam size ≥ 6.7 s0 ?” (s0: beam size at injection)
    - Yes:	→ mechanical aperture ≥ 6.7 s → orbit is safe
    - No:	→ mechanical aperture ≤ 6.7 s → orbit is un-safe
      - rework orbit reference (compare with old reference....)
%sigma(s)=sqrt{%varepsilon %beta(s)}
ε0→
72∙ε
aperture
particle loss
→stop ε blow-up
beam@inj
blown-up beam
Orbit
offset

---
Aperture Procedure II
Indicators whether Aperture Scan is required:
Beam Position Monitors:
Procedure:
A: Initial check whether Orbit is safe:
    - aperture scan (ε blow-up, betatron-oscillation)
      - Potential bump scans to determine location of aperture
    - save “safe BPM reference” current settings → xref = “SAFE SETTING”
B: Check:	if ( |xmeas.- xref| < Δxtol) {...}
    - FALSE: potential orbit bump detected
    - TRUE: Orbit is safe
  - Pro's:
    - Easy to check with circulating beam
    - Less dependent on machine optics
    - Sensitive to most orbit manipulations
  - Con's:
    - erroneous BPMs → but: gives indication which BPMs are not working.
    - No information before injection
    - Bunch intensity systematics (gain settings) and change of BPM calibration
no
yes

---
LHC BPM Specification
LHC-BPM-ES-0004 rev. 2.0, EDMS #327557, 2002, p. 25:
Beam threading
Close trajectory on itself
Position error at injection
Momentum mismatch
detection at injection
Optics and local Q' checks
Aperture optimisations
LHC Collimation/Orbit FB
Orbit at injection elements
Position error at injection
Momentum FB (radial loop)
Dispersion measurements
b2/a2 to b4/a4 (~TOTEM)