CAS Lecture on Q & Q' - Titel
CERN Accelerator School on Beam Diagnostics,
Dourdan, France, 2008-05-31
Tune and Chromaticity Diagnostics
Part II
Ralph J. Steinhagen
Accelerator & Beams Department, CERN
Beam Instrumentation Group
Acknowledgments: A. Boccardi, P. Cameron (BNL), M. Gasior,
R. Jones, H. Schmickler, C.Y. Tan (FNAL)

---
Beam Chromaticity - Primer
Light optics analog: chromatic error
Tune spread DQ/Q dependence on momentum spread Dp/p:
  - defines: (normalised) 'chromaticity' Q' (ξ)
  - → also 1st order measurement principle
p = p0
p < p0
p >p0
chromaticity
%DELTA Q `:=` Q' cdot {{%DELTA p}over {p} }
{%DELTA Q} over {Q} `:=` %xi cdot {{%DELTA p}over {p} }
or:
~2 DQ/Q

---
Outline
Part I:
Recap: What the .... is 'Q', Oscillations Dampening
  - Perturbation Sources, Requirements
Tune Diagnostics
  - Classic Fourier-Transform Based
    - Detectors: BPMs, Diode-Peak-Detection, (Schottky → F. Casper)
  - Phase-Locked-Loop (PLL) Systems
Advanced Topic
Part II: → now
Recap: Definitions, Requirements & Constraints
Classic Chromaticity Diagnostics
  - Momentum shift Δp/p based Q' tracking methods → LHC examples
Collective Effects
  - Head-tail phase shift
  - De-coherence based methods: PLL Side-Exciter

---
Non-Linear Chromaticity
Tune-shifts may depends not only linearly	but also quadratically on Δp/p
  - → Second order Chromaticity Q''
Can be generalised to higher orders Q'''... Q(n):
  - Principle stays the same:
    - Measure Q as a function of Δp/p
    - Fit n-th order polynomial to the tune shift
      - returns: Q, Q', Q'', Q''', ...
However: correction is highly non-trivial!!
%DELTA Q `=` Q'' `cdot` left( {{%DELTA p}over{p}} right)^2
Q^{(n)} `=` {partial^{(n)} Q} over {partial {%delta}^{(n)} } ~~with~ %delta `:=` {%DELTA p}over {p}
CERN-PS
courtesy R. Steerenberg
courtesy H. Burkhardt
LEP

---
Chromaticity Stability Requirements I/III
Why bother about measurement, stability & control of Q', Q'', ...?
Increases footprint in Q diagram and causes resonances for off-momentum particles
  - Example LHC (RF cavities 'off'):
    - need to obey this if we want to have more than one particle in the machine.
Head-Tail instability → requires positive chromaticy for machines above transition
  - practically all lepton accelerators (e+e- collider, light sources, ...)
  - high-energy proton accelerator (Tevatron, RHIC, SPS, LHC, ...)	→ more on this later
coll.
3rd
inj.
δQ
2∙ΔQ(6σ)
10th
7th
← 4th
11th

---
What drives Chromaticity Changes?
Main Q' error sources: quadrupoles' natural chromaticity, field errors on higher order magnets (sextupoles, octupoles, ...) and CO. feed-down of higher order magnets
  - LHC: main dipoles' sextupole error (decay and snapback, persistent currents)
  - Exp. perturbations are about 200 times than required stability!
    - Chromaticity:	ΔQ'/Δt|max < 2 s-1
    - first machine that requires an active beam-based control of Q'
← the critical/difficult LHC beam parameter
stability requirement

---
LHC Base-Line Q/Q' Diagnostics Overview – Q'
RF momentum modulation
  - Measurement procedure (manual – human driven):
    - 1. Step: measure tune Q1
    - 2. Step: change Δp/p (RF cavities), measure tune Q2	→ ΔQ = Q2-Q1
    - 3. Step: enter ΔQ & Δp/p into above definition	→ Q'
Kicked Head-Tail Phase-Shift
  - Q' driven phase shift of bunch head- versus tail-oscillation
Tune-width and de-coherence based methods
  - PLL Side-exciter & higher order fits
Q' = {color red {%DELTA Q}} over {color blue {%DELTA p/p}}
measured tune change
RF induced momentum change (known)
collective effects
- handle with care

---
Q' trough RF momentum modulation based method
Q' = {color red {%DELTA Q}} over {color blue {%DELTA p/p}}
the measured tune change
the RF induced momentum change (known)
Q' tracking perfomance is essentially given by:
  - Ability to track tune both accurately ΔQres & fast Δtres:
    - Fourier based (fast) or Phase-Locked-Loop based (trade-off: fast ↔ precise)
  - Limits on allowed momentum modulation:
    - RF momentum acceptance (typically ~ 1 %) & RF power consumption
    - Example LHC: collimation/protection limit excursions < 20 μm → Δp/p ≤ 10-5
      - new regime for Q' tracking loops
Also intrinsic to this problem:
  - Example LHC:
    - Tune:	ΔQ/Δt|max < 10-3 s-1
    - Chromaticity:	ΔQ'/Δt|max < 2 s-1
  - → Choose to tackle the Q/Q' measurement in the high accuracy limit.
  - → very small but slow (few Hz) Δp/p modulation while tracking Q with a PLL
%DELTA Q_{res}^{(,)} cdot %DELTA t_{res} = const.
“slow” compared to Q/Q' drifts
e.g. in the SPS/CPS/PSB

---
Q' through RF momentum modulation based method
Example: LHC
There are multiple but similar detection techniques:
  - modulation below Qs → classic schoolbook example
  - modulation above Qs → Brüning's and/or McGinnis' method
LHC: RF power permits only slow modulation
Q' = {color red {%DELTA Q}} over {color blue {%DELTA p/p}}
slow modulation
fast modulation
LHC:
Q' diagnostic &
FB operation

---
Example: FFT based Q/Q' tracking study at the CERN-SPS
Modulation Amplitude: Δp/p ~ 2·10-5 sinusoidal Modulation
Vertical tune
Q'v ≈ 36!!
Horizontal Tune
Q'H ≈ 2
Q' resolution is limited by tune resolution
  - large Q' increases frequency spread → Landau damping
  - can be improved by e.g. using a PLL
    - achievable frequency resolution ΔQres ~ 10-5...10-6

---
Example: LHC-PLL based Q/Q' tracking study at the CERN-SPS
Modulation Amplitude: Δp/p ≈ 1.85∙10-5
tune
Q' trimming
PLL phase
PLL amplitude [a.u.]

---
Example LHC-PLL based Q/Q' tracking study at the CERN-SPS
Modulation Amplitude: Δp/p ≈ 1.85∙10-5
tune
Q'/Q
real-time Q' detection algorithm:
  - Q' resolution ≈ 1 unit
N.B. tracking transients: ΔQ' feed-down on ΔQ (non-centred orbit)
    - ΔQ/Δt >> ΔQ'/Δt → SPS specific, LHC: ΔQ/Δt|max < 10-4/s

---
Intermezzo
Collective Effects Head-Tail and De-coherence based Q' Diagnostics

---
Recap: Transverse Beam Dynamics
Chromaticity Perturbation Sources – Quadrupole Driven
%DELTA Q = {1 over {4%pi}} lint %beta {size 10 (s)} cdot %DELTA k{size 10 (s)}`ds
Recap: tune shift due to quadrupole error:
  - quadrupolar force:
    - focusing: deflection depends on transverse position in the magnet
Off-momentum particle p → p + Δp:
  - Inserting 'Δk' into tune shift formula yields 'natural chromaticity' Q'nat definition:
    - ~ number of quadrupoles (~ accelerator circumference)
    - always negative (since β(s) > 0)
      - drives head-tail instability (all lepton and hadron colliders above transition)
    - → needs to be compensated for nearly all (big/high intensity) machines
f_x {size 10 (s)} `=` k {size 10 (s)} cdot x ~~with~~ k {size 10 (s)} = {q over p} {{partial B} over {partial x}}
1 over {1 + x} = 1 `-` x `+` x^2 `+` h.o.
f_x {size 10 (s)} ~=~ k {size 10 (s)} cdot x `approx` k_0 {size 10 (s)} cdot x `-` k_0 {size 10 (s)} cdot {{%DELTA p} over {p}} cdot x `+` k_0 {size 10 (s)} left({{%DELTA p} over {p}} right)^2 cdot x
→ Δk(s)
~ Q''
{%DELTA Q} `=` - {1 over {4 %pi }} left[ lint %beta {size 10 (s)} cdot k {size 10 (s)} `ds right ] cdot {{%DELTA p} over {p_0}} `:=` Q'_{nat.} cdot {{%DELTA p} over {p_0}}

---
Transverse Beam Dynamics
Chromaticity Perturbation Sources – Sextupole Driven
Hill's equation
Sextupolar field:
  - Off-Momentum particle passage through sextupole (assume y=0):
    - keep only relevant order (estimate: D ~ m, Δp/p ~10-4 & xβ ~ 10-4 m)
    - linear natural chromaticity compensated if
  - General linear chromaticity compensation relation:
z'' `+` k {size 10 {(s)}} cdot z `=` f {size 10 (z)}
f_{x/y} {size 10 (s)} = left lbrace matrix{ + {1 over 2} m{size 10 (s)} cdot left(x^2 - y^2 right) ## - m{size 10 (s)} cdot x cdot y } right rbrace ~~with~ m(s) = {q over p} {{partial^2 B} over {partial x^2}}
x ~rightarrow~ color red { D cdot {size 8 {{%DELTA p} over {p}}}}`+` {color blue x_{%beta}}
matrix { alignl f_{x} {size 10 (s)} # alignl %= `+` {1 over 2} m{size 10 (s)} cdot left[` left( color red {D cdot {{%DELTA p} over {alignc p}} + color blue {x_{beta}}} right)^2 `right] ## ~# alignl %= `+` {1 over 2} m{size 10 (s)} cdot left[` color red {left(D cdot {{%DELTA p} over {alignc p}} right)^2} `+` color red { 2 left(D cdot {{%DELTA p} over {alignc p}} right) cdot color blue {x_{beta}}} `+` color blue {x_{beta}^2 } `right] ## ~# alignl %= `+`m{size 10 (s)} left(D cdot {{%DELTA p} over {alignc p}} right) cdot color blue {x_{beta}} ~+~ {1 over 2} m{size 10 (s)} cdot {left(D cdot {{%DELTA p} over {alignc p}} right)^2} ~+~ {1 over 2} m{size 10 (s)} cdot color blue {x_{beta}^2 } }
 → Landau damping
~ Q'
~ Q''
m{size 10 (s)} cdot D{size 10 (s)} `=` k_0 {size 10 (s)}
Q' `=` {1 over {4%pi}} `lint` left[D {size 10 (s)} m {size 10 (s)} - k {size 10 (s)}right] `%beta{size 10 (s)} `ds

---
Chromaticity Stability Requirements
Head-Tail Instability I/II
First discovered at ACO and Adone (1969)1
  - mixing of longitudinal and transverse motion
    - Phase advance change:
    - Synchrotron oscillation:
    - → Head and Tail swap position	after half a sync. period!
Damping time constant (1st order):
Head-Tail motion becomes unstable if
  - above transition (η > 0)	& Q' < 0
  - → keep Q' slightly positive!
%DELTA Q `:=` Q' cdot {{%DELTA p}over {p} }
T H
transverse
{{%DELTA p} over {p}} `=` hat {{%DELTA p} over {p}} cdot sin(%omega_s cdot n + %phi_i)
ΔQ > 0
Tail
Head
{{1} over {%tau_{HT}}} `sim` N_b cdot {{hat %tau Q'} over { Q^2 cdot {color blue {color black {left(%alpha_c - 1/%gamma_{rel} right)}} underbrace {%eta}} } }
{1 over %tau} {%<%} csup {!} 0
ΔQ < 0
longitudinal
1 M. Sands, “The Head-Tail Effect: An Instability Mechanism in Storage Rings”, SLAC-TN-69-008, 1969
τ
Δp/p
ωs
1
2
E
s
T H
T H

---
Chromaticity Stability Requirements II/III
Head-Tail Instability II/II
Measurement in the CERN-SPS (26 GeV, above transition)

---
Head-Tail based Q' Diagnostic I/II
Instability can be exploited to give in estimate on Q' in the first place:
  - track two slices, 'head' and 'tail' in the bunch distribution	:	(tune: Q, long slice position: τ, synchrotron frequency: ωs, turn: n)
    - Phase difference of betatron oscillations:
%DELTA z_{HT} {size 10 (n)} `prop` sin(%psi_{HT} {size 10 (n)})
%psi_{HT}{size 10 (n)} `=`2 %pi Q cdot n+ %DELTA %phi_{%beta} ~~with~ %DELTA %phi_{%beta} `approx` Q' `cdot` {{%omega_0 hat %tau} over {%eta} cdot sin(%omega_s cdot n)} underbrace {%DELTA p/p modulation}
one synchrotron
period
bunch head slower than tail
bunch head faster than tail
bunch tail faster than head
bunch tail slower than head
long. bunch position

---
Head-Tail based Q' Diagnostic II/II
Implemented/tested at CERN-SPS, Tevatron, LHC:
  - Long strip-line (60 cm, to avoid signal-reflection mixing)
  - Σ-Δ hybrid (removes common mode signal)
  - Fast-sampling to resolve bunch structure
    - ~ ns bunch length → GHz scope bandwidth
  - Need to compensates for non-beam effects:
    - pickup- & hybrid response, cable dispersion, ...
  - Phase detection: Hilbert transform (strips-off the sine)
Limitations:
  - damping: synchrotron radiation, impedance, amplitude de-tuning and other high order effects driving HT instabilities
  - low synchrotron tune → de-coherence more dominant (damped signal)
  - RF bucket non linearities (dependence of synchrotron tune on amplitude)
  - Like BPM based Q systems: kick amplitudes (1..2 σ) → emittance blow-up	→ under investigation: Diode-detection based sampling (BBQ like),	Challenge: fast GHz sampling with nm resolution
A
180°
Hybrid
Σ
Δ
B
Surface
Tunnel

---
Tune-Width based Q' Diagnostic I/V
Recap: “Landau Damping”
Individual bunch particles usually differ slightly w.r.t. their individual tune	→ Literature: “Landau Damping”	(Historic misnomer: particle energy is preserved!)
  - E.g. if f(ΔQ) is a narrow Gaussian distribution with with σQ << Q:
overline {z}{size 10 (t)} = {overline {z}}_0 cdot e^{ size 8 {- {1 over 2} cdot %sigma_Q^2 n^2 }} cdot cos left(2%pi Q cdot n right)
→ large tune spread ↔ fast damping of e.g. head-tail instabilities

---
Tune-Width based Q' Diagnostic II/V
Inverse Damping Time as a Function of Beam Current
Two types of diagnostics:
  - Kick excitation and measure of de-coherence of beam oscillations
    - limits: emittance blow-up (hadron), dependence on beam current
  - Continuous width measurement using e.g. PLL (higher sensitivity, less emittance blow-up)
LEP
courtesy A.-S. Müller
beam current ~ intensity
~ inverse damping time
Q`≈ 14.1
Q`≈ 2.68

---
Tune-Width based Q' Diagnostic III/V
Basic idea: larger damping ↔ larger tune width
Tune width change →
change of phase slope (K0)

---
Tune-Width based Q' Diagnostic IV/V
Measurement using PLL Side Exciter
Resonant phase change ↔ tune width change
  - → “free” real-time tune footprint measurement
  - → measurable dependence of ΔQ ~ Q'
driven resonance:
tan(%varphi) approx {%DELTA Q cdot %omega_Q%omega_D} over {%omega_Q^2 - %omega_D^2}
Q
Q-ΔQ
Q+ΔQ
2ΔQ ≈ 0.002 « 2Qs

---
Tune-Width based Q' Diagnostic V/V
CERN-SPS: 16th November 2006 ΔQ dependence on Q'
tan[φ(Q-ΔQ)]
tan[φ(Q+ΔQ)
(ΔQ = 0.001)
ΔQ' ~ 2.6
Inverse amplitude response R-1(Q)
Side-exciter phase changes linearly with Q' ( Q' ~ m(s) )
  - no additional momentum modulation
  - Absolute scale requires calibration w.r.t. to classic Q' measurement
  - can extended this to assess higher order non-linear effects (Q'', Q''', ...)

---
Conclusion
Chromaticity Diagnostics depends on ability to track the tune within given limits:
  - precision, excitation amplitudes, speed
Tune Diagnostics depends on ability to resolve small betatron-oscillations:
  - need to reject common mode due to: intensity, closed and dispersion orbit
    - could be be done with any turn-by-turn BPM (but with usally larger excitation)
    - favours passive (Schottky, BBQ) or very sensitive instrumentation (BBQ)
For more details on Q, Q' diagnostics and instrumentation:
  - Proceedings of CARE Workshop on 'Q, Q' and feedback Control', Chamonix, 07
  - and references therein.
That's all – Questions?

---
Conclusion
Additional Slides

---
Additional Topic III:
Feed-Backs on Tune, Coupling and Chromaticity

---
Integration of Q/Q' Measurements for Q/Q' Control
Full LHC Beam-Based Feedback Control Scheme
(Skew-) Quadrupole settings
ΔQ,ΔC-
Qref,C-ref
Σ
Tune/Coupling
Controller
Qavg
Q'ref
ΔQmod
Sextupole Settings
Q'
Chromaticity
Reconstr.
Σ
Chromaticity
Controller
f0+Δf, Δp/p
A∙sin(2πfe)
reference signal
φ
Δf
Phase
Detector
Low-pass
Filter
PLL-Control Law
e.g. PID
NCO
orbit ref.
δ, Δp/p, Δf
Δp/p RF
modulation
Orbit Feedback
Controller
Σ
(12x/10x)
16x2
32x
1075x2
530x2
x2
2x2
BBQ
BPMs
CODs
RF
mini-
AC
dipole/
damper
2 (+2) x 2
Orbit/Energy Feedback
Tune/Coupling PLL
Chromaticity Tracker/Feedback
further: fBW(PLL) » fBW(Q') ≥ fBW(Q, C-)
Tune/Coupling Feedback
LHC FBs: 2158 input devices, 1136 output devices → total: ~3300 devices!
R(fe)∙sin(2πfe+φ)
beam response
A∙sin(2πfe)
LHC
beam response
Δf